| Clone | G146-22 |
| --- | --- |
| Source | Mouse Monoclonal |
| Cat # | PM244-6ml RTU PM244-3ml RTU |
| Regulatory Status | IVD |

FLI-1-(G146-22)

Intended Use:

This antibody is intended for use to qualitatively identify FLI-1antigen by light microscopy in formalin fixed, paraffin embedded tissue sections using immunohistochemical detection methodology. Interpretation of any positive or negative staining must be complemented with the evaluation of proper controls and must be made within the context of the patient’s clinical history and other diagnostic tests. A qualified pathologist must perform evaluation of the test.

Summary and Explanation:

The FLI-1 gene and FLI-1 protein are best known for their critical role in the pathogenesis of ES/PNET. More than 85% of ES/PNET are characterized by the translocation t(11;22)(q24;q12) that results in the fusion of the ews gene on chromosome 22 to the FLI-1 gene on chromosome 11. FLI-1 is a member of the ETS (erythroblastosis virus-associated transforming sequences) family of DNA-binding transcription factors and is involved in cellular proliferation and tumorigenesis. FLI-1 is normally expressed in endothelial cells and in hematopoietic cells, including T lymphocytes. The immunohistochemical detection of FLI-1 protein has been shown in two recent studies to be valuable in the discrimination of ES/PNET from most of its potential mimics, with the notable exception of lymphoblastic lymphoma. The FLI-1 gene has also recently been shown to play an important role in the embryologic development of blood vessels. FLI-1 is a highly sensitive (92%) and specific (100%) marker of both benign and malignant vascular tumors. FLI-1 expression in the nonvascular sarcomas, melanomas, or carcinomas studied was not observed.

Immunogen:Fli-1 ets domain fusion protein .

Isotype:	Mouse / IgG1

Reagent Provided:

Pre-diluted format:  	PathnSitu ready to use antibodies are pre tittered to optimal staining 
				conditions. Further dilution may loose the activity and may yield to sub 
				optimal staining.

Storage Recommendations: Store at 2°-8°C. Do not use after expiration date provided on the vial.

Staining Recommendations: 
	Antigen Retrieval Solution: Use Tris EDTA(PathnSitu Cat # PS008 or PS009) as antigen retrieval 
					solution Heat Retrieval Method: Retrieve sections under steam pressure 
					for 15 min using PathnSitu’s MERS (Multi Epitope Retrieval System) then 
					allow solution to cool for 10 minutes then transfer tissue sections/slides to 
					distilled water.

Primary Antibody: 		Cover the tissue sections with primary antibody and incubate for 30 
				min at room temperature when used PathnSitu PolyExcel Detection 
				System.

Detection System:	Refer to PathnSitu PolyExcel detection system protocol or manufacturer’s detection kit staining protocol when used other vendor detection system.

Cellular Localization:	Nuclear

Positive Control:		Ewings Sarcoma

Troubleshooting:	Follow the antibody specific protocol recommendations according to data sheet provided. If unusual results occur, contact PathnSitu Technical Support at 040-2701 5544 or techsupport@pathnsitu.com.

Limitations and Warranty:	There are no warranties, expressed or implied, which extend beyond this 
	description. PathnSitu is not liable for property damage, personal injury, or 
		economic loss caused by this product.

Bibliography: 		1. Bailly RA, Bosselut R, Zucman J. DNA-binding and 
				transcriptional activation properties of the EWS-FLI-1 fusion 
				protein resulting from the t(11;22) translocation in Ewing 
				sarcoma. Mol Cell Biol. 1994; 14(5):3230-3241.