| ALDH1A1- (EP168) Clone | EP168 |
| --- | --- |
| Source | Rabbit Monoclonal |
| Cat # | PR236-6ml RTU PR236-3ml RTU HAR236-6ml RTU HAR236-3ml RTU CR236-0.1ml Conc CR236-0.5ml Conc |
| Regulatory Status | IVD |

Intended Use:

This antibody is intended for use to qualitatively identify ALDH1A1 antigen by light microscopy in formalin fixed, paraffin embedded tissue sections using immunohistochemical detection methodology. Interpretation of any positive or negative staining must be complemented with the evaluation of proper controls and must be made within the context of the patient’s clinical history and other diagnostic tests. A qualified pathologist must perform evaluation of the test.

Summary and Explanation:

ALDH1A1 belongs to the aldehyde dehydrogenase family. Aldehyde dehydrogenase is the next enzyme after alcohol dehydrogenase in the major pathway of alcohol metabolism. There are two major aldehyde dehydrogenase isozymes in the liver, cytosolic and mitochondrial, which are encoded by distinct genes, and can be distinguished by their electrophoretic mobility, kinetic properties, and subcellular localization. The ALDH1A1 gene encodes the cytosolic isozyme. ALDH1A1 is known to catalyze the oxidation of retinaldehyde to retinoic acid. It may also be involved in the regulation of the metabolic responses to high-fat diet.

ALDH1A1 has been a well established marker of hematopoietic stem cells and progenitor cells. Recent studies also show that ALDH1A1 is an important cancer stem marker associated with tumor progression in cancers of the breast, prostate and lung.

This antibody labels epithelial cells of the stomach, liver, kidney and thyroid, neural cells and stromal cells including endothelial cells. In tumors, it stains stromal cells as well as tumor cells in many types of cancers.

Isotype:	Rabbit IgG

Immunogen:A synthetic peptide corresponding to residues of human ALDH1A1 protein.

Reagent Provided:

Concentrated format: Antibody to ALDH1A1 is diluted in antibody diluent, with 1% bovine 
				serum albumin (BSA) and 0.05% sodium azide (NaN3). Recommended 
				dilutions: 1:50 – 1:100.The antibody dilution and protocol may vary depending on 
				the specimen preparation and specific application. Optimal conditions should be 
				determined by individual laboratory.

Pre-diluted format:  	PathnSitu ready to use antibodies are pre tittered to optimal staining 
				conditions. Further dilution may loose the activity and may yield to sub 
				optimal staining.

Storage Recommendations: Store at 2°-8°C. Do not use after expiration date provided on the vial.

Staining Recommendations: 
	Antigen Retrieval Solution: Use Tris-EDTA(PathnSitu Cat # PS009) as antigen retrieval solution 
					Heat Retrieval Method: Retrieve sections under steam pressure for 15 
					min using PathnSitu’s MERS (Multi Epitope Retrieval System) then allow 
					solution to cool for 10 minutes then transfer tissue sections/slides to 
					distilled water.

Primary Antibody: 		Cover the tissue sections with primary antibody and incubate for 30 
				min at room temperature when used PathnSitu PolyExcel Detection 
				System.

Detection System:	Refer to PathnSitu PolyExcel detection system protocol or manufacturer’s detection kit staining protocol when used other vendor detection system.

Cellular Localization:	Cytoplasmic

Positive Control:		Embriyonal Liver, Breast Ca

Troubleshooting:	Follow the antibody specific protocol recommendations according to data sheet provided. If unusual results occur, contact PathnSitu Technical Support at 040-2701 5544 or techsupport@pathnsitu.com.

Limitations and Warranty:	There are no warranties, expressed or implied, which extend beyond this 
	description. PathnSitu is not liable for property damage, personal injury, or 
		economic loss caused by this product.

Bibliography: 		1. Maglott D, et al.: Nucleic Acids Res2005, 33:D54-58 
				2. Yoshida A, et al.: Alcohol1985, 2:103-106 
				3. Collard F, et al.: Biochimie2007, 89:369-373 
				4. Moreb JS: Curr Stem Cell Res Ther2008, 3:237-246 
				5. Khoury T, et al.: Mod Pathol2011,
				6. Li T, et al.: Lab Invest2010, 90:234-244 
				7. Patel M, et al.: Lung Cancer2008, 59:340-349 
				8. Sullivan JP, et al.: Cancer Res2010, 70:9937-9948

ALDH1A1, EP168 antibody has been created by Epitomics Inc., using Epitomics’ proprietary rabbit monoclonal antibody technology covered under Patent No.’s 5,675,063 and 7,402,409.