| Helicobacter Pylori- (EP279) Clone | EP279 |
| --- | --- |
| Source | Rabbit Monoclonal |
| Cat # | PR251-6ml RTU PR251-3ml RTU CR251-0.1ml Conc CR251-0.5ml Conc HAR251-6ml RTU HAR251-3ml RTU |
| Regulatory Status | IVD |

Intended Use:

This antibody is intended for use to qualitatively identify Helicobacter Pylori antigen by light microscopy in formalin fixed, paraffin embedded tissue sections using immunohistochemical detection methodology. Interpretation of any positive or negative staining must be complemented with the evaluation of proper controls and must be made within the context of the patient’s clinical history and other diagnostic tests. A qualified pathologist must perform evaluation of the test.

Summary and Explanation:

Helicobacter Pylori (H. Pylori) is an endemic helix-shaped Gram- negative bacterium that infected over half of the world’s population, reaching over 80% prevalence in developing countries. The bacterium attaches tightly to the gastric epithelia upon ingestion via unique bacterial-surface components and releases urease, permitting its survival in the acidic lumen. H. Pylori strains are highly diverse, and virulence is mediated by the secreted exotoxin VacA and cag pathogenicity island that induces host cellular apoptosis and inflammation.

H. Pylori colonization is a chronic condition without specific therapy, but asymptomatic in the majority of people. Infection with H. Pylori is responsible for the majority of duodenal and gastric ulcers, and have been associated with increased risk of developing mucosa-associate lymphoid tissue (MALT) lymphoma, atrophic gastritis and gastric cancer. Antibody to H. pylori is useful for detecting the bacterial infection in gastric and duodenal epithelial cells. Reactivity against additional Helicobacter family bacterium has not been fully established.

Isotype:	Rabbit IgG

Immunogen:Helicobacter Pylori

Reagent Provided:

Concentrated format: Antibody to Helicobacter Pylori is diluted in antibody diluent, with 1% 
				bovine serum albumin (BSA) and 0.05% sodium azide (NaN3). Recommended 
				dilutions: 1:50 – 1:100.The antibody dilution and protocol may vary depending on 
				the specimen preparation and specific application. Optimal conditions should be 
				determined by individual laboratory.

Pre-diluted format: PathnSitu ready to use antibodies are pre tittered to optimal staining 
				conditions. Further dilution may loose the activity and may yield to sub optimal 
				staining.	

Storage Recommendations: Store at 2°-8°C. Do not use after expiration date provided on the vial.

Staining Recommendations: 
	Antigen Retrieval Solution: Use Citrate(PathnSitu Cat # PS006) as antigen retrieval solution 
					Heat Retrieval Method: Retrieve sections under steam pressure for 15min 
					using PathnSitu’s MERS (Multi Epitope Retrieval System) then allow 
					solution to cool for 10 minutes then transfer tissue sections/slides to 
					distilled water.

Primary Antibody: 		Cover the tissue sections with primary antibody and incubate for 30 
				min at room temperature when used PathnSitu PolyExcel Detection 
				System.

Detection System:	Refer to PathnSitu PolyExcel detection system protocol or manufacturer’s detection kit staining protocol when used other vendor detection system.

Cellular Localization:	Bacteria cell wall

Positive Control:		H.Pylori infected tissue

Troubleshooting:	Follow the antibody specific protocol recommendations according to data sheet provided. If unusual results occur, contact PathnSitu Technical Support at 040-2701 5544 or techsupport@pathnsitu.com.

Limitations and Warranty:	There are no warranties, expressed or implied, which extend beyond this 
	                                   description. PathnSitu is not liable for property damage, personal injury, or 
		                       economic loss caused by this product.

Bibliography: 		1. Blaser MJ, et al.: Cancer Res 1995 55(10):2111-5
				2. Forman D, et al.: BMJ 1991, 302(6788):1302-5
				3. Peek RM, et al.: Nat Rev Cancer 2002, 2(1):28-37
				4. Suerbaum S, et al.: N Engl J Med 2002, 347(15):1175-86
				5. Toulaymat M, et al.: Arch Pathol Lab Med 1999 123(9):778-81 
				6. Uemura N, et al.: N Engl J Med 2001, 345(11):784-9

H.Pylori, EP279 antibody has been created by Epitomics Inc., using Epitomics’ proprietary rabbit monoclonal antibody technology covered under Patent No.’s 5,675,063 and 7,402,409.